20210730 LTXM source size
A = ~82mm
B = 1200mm (bis chip)
1px = 15um
→ M=15
35um Pinhole

---
4x4, 1s, 38A
Intensity stability: +/- 6% std
21 +/- 2 um sigma v
24 +/- 1 um sigma h

---
4x4, 0.5s, 38A
Intensity stability: +/- 8% std
25 +/- 2 um sigma h

---
4x4, 0.25s, 38A
Intensity stability: +/- 10% std
25 +/- 2 um sigma h

---
Laser	Integrated counts	ratio
35A	200000/s	17%
36A	313000/s	26%
37A	710000/s	59%
38A	1200000/s	100%
Evaluation integrated in a ROI of 100x100 px around center position, shots with integration time of 3s in 4x4 binning were used